Contents

BUILT ENVIRONMENT	3

METRIC Persons and Jobs per Hectare	3

METRIC Location Efficiency	3

METRIC Floor Area Ratio	4

METRIC Proximity to Basic Amenities	4

METRIC Proximity to Lifestyle Amenities	6

METRIC Buildings Designed and/or Certified under an Accredited “Green” Rating System	7

METRIC Universal Design	8

METRIC Urban Tree Diversity	9

METRIC Maintain Existing Healthy Trees	9

METRIC Soil Quantity and Quality	10

METRIC Percent (%) Tree Canopy within Proximity to Building/Pedestrian Infrastructure	11

METRIC Percent (%) Canopy Coverage	12

METRIC Universally Accessible Entry to Buildings and Sites	13

METRIC Design for Life Cycle Housing	13

METRIC Community and Neighbourhood Scale	15

METRIC Connection to Natural Heritage	16

METRIC Bicycle Parking	17

METRIC Off-Street Parking	18

METRIC Surface Parking	19

METRIC Carpooling and Efficient Vehicle Parking	20

METRIC Traffic Calming	20

METRIC School Proximity to Transit Routes and Bikeways (Employment Lands and Commercial, Retail, Institutional developments excluded)	21

METRIC Proximity to Schools	22

METRIC Cultural Heritage Conservation	23

MOBILITY	24

METRIC Block Perimeter/Length	24

METRIC Intersection Density	24

METRIC Connectivity	26

METRIC Distance to Public Transit	26

METRIC Creation of Trails and Bike Paths	28

METRIC Proximity to Cycling Network	28

METRIC Promote Walkable Streets	29

NATURAL ENVIRONMENT & OPEN SPACE	30

METRIC Park Accessibility	30

METRIC Stormwater Quantity and Quality	30

METRIC Stormwater Quantity and Quality	31

METRIC Rainwater Re-Use	32

METRIC Stormwater Architecture/Features	32

METRIC Dedicate Land for Food Production	33

METRIC Natural Heritage System Enhancements	33

METRIC Restore and Enhance Soils	34

INFRASTRUCTURE & BUILDINGS	35

METRIC Solar Readiness	35

METRIC Passive Solar Alignment	36

METRIC Building Energy Efficiency	37

METRIC Energy Management	38

METRIC Reduce Potable Water Use for Irrigation	39

METRIC Water Conserving Fixtures	40

METRIC Parking Garage Lighting	40

METRIC Reduce Light Pollution	41

METRIC Energy Conserving Lighting	42

METRIC Bird Friendly Design	42

METRIC Solid Waste	43

METRIC Recycled/Reclaimed Materials	43

METRIC Material Re-Use and Recycled Content	44

METRIC Reduce Heat Island from Built Environment – Non Roof	44

METRIC Reduce Heat Island from Built Environment – Roof	45

# BUILT ENVIRONMENT

| ## METRIC Persons and Jobs per Hectare | INDICATOR Compact Development |
| --- | --- |
| APPLIES TO Block and Draft Plans - Greenfield | METRIC TYPE Applicant Score |
| METRIC INTENT To conserve land and promote active transportation, transit efficiency, livability and improve public health. Ensure the plan complies with growth targets referenced in the Municipal Official Plan/Secondary Plan. |  |
| DEMONSTRATE COMPLIANCE Review growth targets referenced within the Municipal Official Plan/Secondary Plan and ensure that the projected population and jobs comply with targets (expressed in people and jobs per hectare). Some areas may be permitted to be excluded. Refer to the “Take-A-Ways” as outlined in the Growth Plan. |  |
| POINT ALLOCATION – MANDATORY METRIC (0 POINTS) |  |
| DOCUMENT COMPLIANCE Included in the Planning Justification Report. Submission requirements: - Municipal Official Plan/Secondary Plan population and jobs per hectare. - Proposed plan population and jobs per hectare ((population + jobs)/hectare). |  |

| ## METRIC Location Efficiency | INDICATOR Compact Development |
| --- | --- |
| APPLIES TO Block Plan - Greenfield | METRIC TYPE Applicant Score |
| METRIC INTENT Building heights and densities conform to the minimum or maximum targets in the Municipal Official Plan. Encourage development with increased density along transit corridors. Promote multi-modal transportation choices and reduced vehicle use. |  |
| GLOSSARY OF TERMS Transit Corridor – Also referred to as Transit Spine and Secondary Transit Corridor, usually bisecting a community. Please see Regional or Municipal Official Plan for definition. |  |
| DEMONSTRATE COMPLIANCE Review height and density targets in the Municipal Official Plan/Secondary Plan and ensure that the proposed plan complies with targets. Along existing or planned mid-block collectors intended for transit, quantify the density increase (expressed in %), relative to the Municipal Official Plan target. If the proposed plan achieves a 50% increase, relative to Municipal targets, the plan is awarded 1 point. 2 points are awarded if the plan achieves a density increase of 100% relative to Municipal targets. |  |
| POINT ALLOCATION – UP TO 3 POINTS Mandatory Target – Building heights and densities must conform to the Municipal Official Plan targets. Minimum Target – For a 50% increase relative to municipal targets (1 Point). Aspirational Target – For a 100% increase relative to municipal targets (2 Points). |  |
| DOCUMENT COMPLIANCE Included in the Urban Design Guidelines. Submission requirements: - Height and density targets in Municipal Official Plan/Secondary Plan. - Proposed plan height and density targets. - Density targets along transit/mid-block collectors (Brampton and Vaughan only). - Percent (%) increase of density along transit corridor/mid-block collectors within a block or specified distance (e.g. 200 m) on either side of the transit corridor (Brampton and Vaughan only). |  |

| ## METRIC Floor Area Ratio | INDICATOR Compact Development |
| --- | --- |
| APPLIES TO Site Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Municipal Official Plans include land use designations and density schedules that apply to existing urban areas to achieve municipal growth management strategies with attention to placemaking, built form and urban design. |  |
| DEMONSTRATE COMPLIANCE Review Municipal Official Plan Floor Area Ratio (FAR)/Floor Space Index (FSI) targets and ensure that the proposed building(s) comply with Municipal requirements. |  |
| POINT ALLOCATION – MANDATORY METRIC (0 POINTS) |  |
| DOCUMENT COMPLIANCE Included in the Site Plan Drawings/Urban Design Brief. Submission requirements: - FSI/FAR requirements in Municipal Official Plan/Secondary Plan. - FSI/FAR for proposed building(s) and across the site. |  |

| ## METRIC Proximity to Basic Amenities | INDICATOR Land Use Mix and Diversity |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans (Employment Lands excluded) | METRIC TYPE Applicant Score |
| METRIC INTENT Recognize sites with good community connections to services and/or promote services to encourage compact communities and multi-modal transportation options. Uses walking distance as a measure of realizing a fine grain mix of uses envisioned in Municipal Official Plans. The metric and targets are adapted from the point scoring system used in LEED ND. |  |
| GLOSSARY OF TERMS Basic Amenities include: - Grocery store/farmers’ market/place to purchase fresh produce - Community/Recreation Centre - Pharmacy - Library NOTE 1 – One building can be considered multiple amenities (i.e. pharmacy included in a grocery store). NOTE 2 – If the amenities are included in the proposed plan, but have yet to be defined, use best judgment (based on size, location and planning allocations) to assume the expected end-use of the planned amenity. |  |
| DEMONSTRATE COMPLIANCE (how to calculate “walking distance”) Identify clusters/circles that capture 50% and 75% of the Dwelling Units (DU) and jobs within the proposed plan. To measure, apply radial circles to the plan demonstrating if 50% or 75% of the planned development is within 400 m or 800 m distance to planned or existing amenities. See figure below for an example, illustrating the radial circles, the distance to amenities and the amenity types within the plan (Source: LEED ND Reference Guide). |  |
| POINT ALLOCATION – UP TO 12 POINTS Minimum Target – The project is awarded a maximum of 6 points (2 points per amenity) for all Basic Amenities that are within an 800 m walking distance to 50% of the DU and jobs. Aspirational Target – The project is awarded up to an additional 6 points (2 points per amenity) for all Basic Amenities that are within a 400 m walking distance to 75% of the DU and jobs. |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines Draft Plan – Included in the Planning Justification Report Site Plan – Included in the Site Plan Drawings/Urban Design Brief Submission requirements: - Highlight the Basic Amenities that are either included or planned for the project (or located off-site) within 800 m and/or 400 m. If some amenities are outside of the development plan, please provide an additional map showing their location. - Highlight development clusters/circles that account for 50% and 75% of the DU and jobs. - Using radial circles, determine the % of DU and jobs that fall within a 400 m and 800 m walking distance to the planned or existing Basic Amenities. - List the Basic Amenities that fall within the 400 m and 800 m walking distance/radial distance to 50% and 75% of the DU and jobs. |  |

| ## METRIC Proximity to Lifestyle Amenities | INDICATOR Land Use Mix and Diversity |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Recognize sites with good community connections to services and/or promote services to encourage compact communities and multi-modal transportation options. Uses walking distance as a key measure of realizing a fine grain mix of uses envisioned in Municipal Official Plans. The metric and targets are adapted from the point scoring system used in LEED ND. |  |
| GLOSSARY OF TERMS Lifestyle Amenities include: - General retail - Convenience store - Theatre - Coffee shop - Hair salon - Bank - Place of worship - Daycare - Restaurant/Pub - Other NOTE 1 – One building can be considered as multiple amenities (e.g. a mall). NOTE 2 – If the amenities are included in the proposed plan, but have yet to be defined, use best judgment (based on size, location and planning allocations) to assume the expected end-use of the planned amenity. |  |
| DEMONSTRATE COMPLIANCE (how to calculate “walking distance”) Identify clusters/circles that capture 50% and 75% of the Dwelling Units (DU) and jobs within the proposed plan. Apply radial circles to the plan demonstrating if 50% or 75% of the planned development is within 400 m or 800 m walking distance to planned or existing amenities. |  |
| POINT ALLOCATION – UP TO 6 POINTS Mandatory Target – Satisfy Municipal Official Plan requirements. Minimum Target – The project is awarded a maximum of 3 points (1 point per amenity) for all Lifestyle Amenities that are within an 800 m walking distance to 50% of the DU and jobs. Aspirational Target – The project is awarded up to an additional 3 points (1 point per amenity) for all Lifestyle Amenities that are within a 400 m walking distance to 75% of the DU and jobs. |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Planning Justification Report. Site Plan – Included in the Site Plan Drawings/Urban Design Brief. Submission requirements: - Highlight the Lifestyle Amenities that are either included or planned for the project or located off-site within 800 m or 400 m. If some amenities are outside of the development plan, please provide an additional map which shows their location. - Highlight development clusters/circles that account for 50% and 75% of the DU and jobs - Using radial circles, determine the % of DU and jobs that fall within a 400 m and 800 m walking distance to the planned or existing Lifestyle Amenities. - List the Lifestyle Amenities that fall within the 400 m and 800 m walking distance/radial distance to 50% and 75% of the DU and jobs. |  |

| ## METRIC Buildings Designed and/or Certified under an Accredited “Green” Rating System | INDICATOR Green Building |
| --- | --- |
| APPLIES TO Draft and Site Plans | METRIC TYPE Applicant and Community Score |
| METRIC INTENT Recognize appropriate independent third-party certification systems incorporated into proposal. |  |
| GLOSSARY OF TERMS Examples of Green rating systems include: - LEED for New Construction (NC), Core and Shell (CS), Homes (H) (please visit http://www.cagbc.org/CAGBC/Programs/LEED/LEEDv4/LEED_v4_Resources.aspx for information on LEED v4 ) - ASHRAE 189 - EnergyStar |  |
| DEMONSTRATE COMPLIANCE All public buildings greater than 500 m2 must be designed to LEED Silver or alternative equivalent (only considered applicable for the Community score). Commit to or demonstrate that at least 1 building within the project boundary is anticipated to be certified to a recognized third party green rating system. For sites that include 5 or more non-residential buildings, identify the percentage (%) of buildings that are anticipated to be certified to a recognized third party green rating system. |  |
| POINT ALLOCATION – UP TO 6 POINTS Mandatory Target – Public buildings greater than 500 m² are designed to LEED Silver or alternative equivalent. Minimum Target – 2 points are awarded if the project boundary includes 1 or more green buildings enrolled in a recognized third party standard. For projects with 5 or more non-residential buildings, additional points are awarded. Aspirational Target – 2 or 4 additional points as follows: If 50% to 75% of the buildings are anticipated to be certified under a recognized third party green rating standard (2 points); if 76% to 100% of the buildings is anticipated to be certified in a recognized third party green rating standard (4 points). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional, provided to the Municipality by the Applicant (please find sample letters at www.brampton.ca/measuring-sustainability). Submission requirements: - Letter of Intent to communicate the commitment and targeted certification level (if applicable). - Should LEED be pursued, submit a draft LEED scorecard documenting targeted points. |  |

| ## METRIC Universal Design | INDICATOR Site Accessibility |
| --- | --- |
| APPLIES TO Site Plan (not applicable to Commercial, Residential, Institutional developments) | METRIC TYPE Applicant Score |
| METRIC INTENT Enable a wide spectrum of people, regardless of age or ability, to live within and access new buildings. |  |
| GLOSSARY OF TERMS Refer to Regional/Municipal Official Plan for definition. |  |
| DEMONSTRATE COMPLIANCE Multi-Residential Units are designed to provide barrier free path of travel, and are in accordance with Ontario Building Code (OBC) requirements. Dwelling Units (DU) are designed in accordance with the American National Standards Institute Accessible and Usable Buildings and Facilities (ICC ANSI A117.1) or equivalent. |  |
| POINT ALLOCATION – UP TO 2 POINTS Mandatory Target – Barrier free path of travel is included in 10% of Multi-Residential Units per OBC. Minimum Target – 20% of the buildings within the plan are designed to ANSI 117.1 standards or equivalent (1 point). Aspirational Target – 30% of the buildings within the plan are designed to ANSI 117.1 standards or equivalent (1 additional point). |  |
| DOCUMENT COMPLIANCE Included in the Site Plan drawings. Submission requirements: - Quantify the total number of Multi-Residential Units (if applicable) and total DUs included within the plan. - If Multi-Residential Units are included in the plan, confirm that 10% of the units have been designed with barrier-free path of travel. - Quantify the number and % of DUs that have been designed to ANSI 117.1 standards or equivalent. |  |

| ## METRIC Urban Tree Diversity | INDICATOR Landscape and Street Tree Planting/Preservation |
| --- | --- |
| APPLIES TO Draft Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Create a diversity of urban trees along streets, parking areas, parks, etc. |  |
| DEMONSTRATE COMPLIANCE On a Landscape Drawing, identify the variety of tree species that are being considered (street trees, trees in parks, trees in parking areas, etc.) for the project. Demonstrate that the tree species alternate at least every 2 trees, or is in accordance with approved Municipal Standards. |  |
| POINT ALLOCATION – MANDATORY METRIC (0 POINTS) |  |
| DOCUMENT COMPLIANCE Included in the Landscape Drawings. Submission requirements: - List any Municipal Standards for alternating tree species. - Landscape Drawing listing tree species being considered for the plan. - Landscape Drawing clearly marking that the diversity of species aligns with the metric (i.e. alternates every 2 trees, or in accordance with Municipal Standards). |  |

| ## METRIC Maintain Existing Healthy Trees | INDICATOR Landscape and Street Tree Planting/Preservation |
| --- | --- |
| APPLIES TO Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Protect or relocate healthy, mature trees that exist within the project boundary. When healthy trees are removed, new trees are provided to mitigate the lost canopy. |  |
| GLOSSARY OF TERMS Healthy, Mature Tree – Diameter Breast Height (DBH) is 20 cm or greater. Mitigate Lost Canopy – Recommend 3 new trees for every 1 tree removed, or in accordance with Municipal tree removal compensation protocol. |  |
| DEMONSTRATE COMPLIANCE Provide an Arborist Report that identifies and evaluates the healthy, mature trees that will be protected (in-situ or moved) or removed. Where healthy, mature trees are removed, quantify the number of new trees required to mitigate the lost canopy. NOTE 1 – This metric (and associated points) are excluded if there are no healthy, mature trees within the project boundary. NOTE 2 – This metric applies for healthy, mature trees on the developable portion of the site (e.g. not in the protected natural heritage system). Compensation may be used to enhance the Municipal natural heritage system in accordance with the Municipal policies. |  |
| POINT ALLOCATION – UP TO 5 POINTS Mandatory Target – Provide an Arborist Report that identifies and evaluates where on-site healthy, mature trees will be protected (in-situ or moved) or removed. Minimum Target – Where healthy, mature trees must be removed, new trees (not including street trees) are provided on-site, or as determined by the Municipality, to mitigate the lost canopy coverage of the trees removed (2 Points). Aspirational Target – 75% of healthy, mature trees greater than 20 cm DBH are preserved in-situ, on site (3 Points). |  |
| DOCUMENT COMPLIANCE Included in the Arborist Report and Landscape Plan. Submission requirements: - Arborist Report that identifies the mature, healthy trees on-site, and the trees that will be protected, moved and removed. - Landscape Plan that quantifies the number of new trees that will be provided to mitigate the lost canopy. - Calculations and signoff by a professional demonstrating that the proposed number of trees will mitigate the lost canopy. - Percent (%) of healthy mature trees that will be protected (in-situ) on-site. |  |

| ## METRIC Soil Quantity and Quality | INDICATOR Landscape and Street Tree Planting/Preservation |
| --- | --- |
| APPLIES TO Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Ensure that sufficient quality and quantity of soil is provided for vegetated space. |  |
| DEMONSTRATE COMPLIANCE Review Municipal Planting standards and ensure that the soil quality and soil quantity provided satisfy Municipal requirements. Document the expected top soil properties for all pits, trenches, and planting beds included within the project. |  |
| POINT ALLOCATION – 2 POINTS Mandatory Target – Satisfy Municipal Planting Standards. Minimum Target – Pits, trenches or planting beds have a topsoil layer with an organic matter content of 10 to 15% by dry weight and a pH of 6.0 to 8.0. The topsoil layer should have a minimum depth of 60 cm. The subsoil should have a total uncompacted soil depth of 90 cm. Minimum soil volume of 30 m3 per tree (2 Points). |  |
| DOCUMENT COMPLIANCE Included in the Landscape Plan/Drawings. Submission requirements: - Submit a landscape plan that shows the location of pits, trenches, planting beds and tree planting. - For each location, identify the following expected soil properties: - Organic matter content (by dry weight) - pH - Topsoil minimum depth - Subsoil total uncompacted soil depth - Minimum soil volume provided per tree |  |

| ## METRIC Percent (%) Tree Canopy within Proximity to Building/Pedestrian Infrastructure | INDICATOR Landscape and Street Tree Planting/Preservation |
| --- | --- |
| APPLIES TO Site Plan | METRIC TYPE Applicant Score |
| METRIC INTENT As part of the urban forest, street trees provide a range of ecosystem services including: cleaning air; intercepting rainfall that helps to mediate storm flows; evaporative cooling and summer shade to reduce building cooling loads; wind breaks and carbon sequestration. As community amenities, street trees promote active transportation by providing a more walkable pedestrian environment. |  |
| DEMONSTRATE COMPLIANCE Review Municipal requirements and ensure tree planting requirements are satisfied. Highlight the existing and planned pedestrian paths (walkways/sidewalks) within the project boundary. Identify the location of trees along pedestrian paths and the expected shade that will be provided within 10 years of tree planting. Use the estimated crown diameter (the width of the shade if the sun is directly above the tree) to calculate the area of the sidewalk that is shaded. |  |
| POINT ALLOCATION – UP TO 4 POINTS Mandatory Target – Satisfy Municipal tree planting requirements. Minimum Target – Provide shade within 10 years for at least 50% of the walkways/sidewalk lengths (if spacing is not feasible, street trees have been placed elsewhere on the site to maintain the proposed tree canopy, e.g. additional park trees, front or backyard trees). All trees should be selected from the applicable municipal tree list (2 Points). Aspirational Target – Provide shade within 10 years for at least 75% of the walkways/sidewalk lengths (if spacing is not feasible, street trees have been placed elsewhere on the site to maintain the proposed tree canopy, e.g. additional park trees, front or backyard trees). All trees should be selected from the applicable Municipal tree list (4 Points). |  |
| DOCUMENT COMPLIANCE Included in the Landscape Plan/Drawings. Submission requirements: - A drawing that highlights the existing and/or planned pedestrian networks within the project boundary. - Total area of the existing or planned pedestrian networks. - A drawing that highlights the existing and/or planned trees along pedestrian networks. The expected tree canopy after 10 years of growth should to be identified on the drawings. - Calculations and signoff by a qualified professional (e.g. arborist, landscape architect) quantifying the total pedestrian path that is shaded by tree canopy after 10 years of growth. Shade is expressed in % and considers the shaded area provided by the tree canopy, relative to the total pedestrian path. - Signoff from a qualified professional (e.g. arborist, landscape architect) that the planting details are appropriate to grow healthy trees, taking into account tree species, root medium, soil volume/quality, and the tree species in accordance with Municipal Standards. |  |

| ## METRIC Percent (%) Canopy Coverage | INDICATOR Percent (%) Tree Canopy within Proximity to Building/Pedestrian Infrastructure |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT As part of the urban forest, street trees provide a range of ecosystem services including: cleaning air; intercepting rainfall that helps to mediate storm flows; evaporative cooling and summer shade to reduce building cooling loads; wind breaks and carbon sequestration. As community amenities, street trees promote active transportation by providing a more walkable pedestrian environment. |  |
| DEMONSTRATE COMPLIANCE See previous Metric above (Percent (%) Tree Canopy within Proximity to Building/Pedestrian Infrastructure). |  |
| POINT ALLOCATION – UP TO 4 POINTS Mandatory Target – Provide street trees on both sides of streets according to Municipal Standards. Minimum Target – Provide street trees on both sides of new and existing streets within the project and on the project side of bordering streets, between the vehicle travel lane and walkway, at intervals averaging no more than 9 m (if spacing is not feasible, street trees have been placed elsewhere on the site to maintain the proposed tree canopy, e.g. additional park trees, front or backyard trees) (1 point). Provide shade within 10 years of planting for at least 50% of sidewalk lengths. All trees should be selected from the applicable Municipal tree list (1 point). Aspirational Target – Provide street trees on both sides of new and existing streets within the project and on the project side of bordering streets, between the vehicle travel lane and walkway, at intervals averaging no more than 6 m (if spacing is not feasible, street trees have been placed elsewhere on the site to maintain the proposed tree canopy, e.g. additional park trees, front or backyard trees) (2 points). Provide shade within 10 years of planting for at least 75% of sidewalk lengths. All trees should be selected from the applicable Municipal tree list (2 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Landscape Plan/Drawings. Site Plan – Included in the Landscape Plan. Submission requirements: Tree Lined Streets - Review Municipal Standards and confirm that the plan includes street trees planted on both sides of the street (in accordance with Municipal Standards). - On a plan, identify the new and existing streets included in the plan. - On a plan, identify the trees that are included along new and existing streets (between vehicle travel lane and walkways). - Quantify the average interval spacing between trees (in meters) for all street trees included in the plan. Shaded Streets - See Document Compliance description in site Metric above (Percent (%) Tree Canopy within Proximity to Building/Pedestrian Infrastructure). |  |

| ## METRIC Universally Accessible Entry to Buildings and Sites | INDICATOR Site Accessibility |
| --- | --- |
| APPLIES TO Site Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Enable a wide spectrum of people, regardless of age or ability, to access new buildings. |  |
| POINT ALLOCATION – UP TO 2 POINTS Mandatory Target – 100% of primary entries are designed to universally accessible standards per Ontario Building Code (OBC). Minimum Target – 100% of emergency exits are designed to universally accessible standards (1 point). Aspirational Target – 100% of all entries and exits are designed to universally accessible standards (1 additional point). |  |
| DOCUMENT COMPLIANCE Included in the Site Plan drawings. Submission requirements: - Clearly identify all primary entries, emergency exits and remaining building entries/exits. - Identify the entries/exits that are designed to universally accessible standards. List universal accessible design standard referenced for the design. - Quantify the % of primary, emergency and remaining entries/exits that are designed to universally accessible standards. |  |

| ## METRIC Design for Life Cycle Housing | INDICATOR Housing Unit Mix |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans Employment Lands excluded (not applicable to Commercial, Residential and Institutional developments) | METRIC TYPE Applicant Score |
| METRIC INTENT Enable residents to live in a community throughout their lifecycle. |  |
| GLOSSARY OF TERMS Affordable/Low-Income Housing – Refer to the Regional/Municipal Official Plan for definition. Live-Work – Provide limited home-based office, personal service and convenience commercial uses that are compatible with the primary residential use and the surrounding community. Business is intended to be operated by one or more of the residents who live in the unit. Multi-Generational – Dwelling Unit (DU) is designed to accommodate at least two adult generations. Design can include private entries, basement apartments, smaller units integrated into the main dwelling, etc. Mixed-Use – Development with integrated uses either horizontally or vertically, or a combination of both. They come in a variety of forms ranging from live-work, mixed-use buildings and mixed-use districts. Adult/Senior Care Housing – Provide accommodation and support to individuals with physical and cognitive disabilities and/or mental health issues. Long-Term Care – Homes that provide ongoing care to patients. |  |
| DEMONSTRATE COMPLIANCE Quantify the % of the housing, accommodation and ownership types included in the project. The total % by category (i.e. ownership, housing type, accommodation) should each add up to 100%. The cells will be highlighted red should the total % exceed 100%. |  |
| POINT ALLOCATION – UP TO 7 POINTS The points are awarded based on the type and quantity of accommodations included in the plan. The following summarizes how points are awarded: Block/Draft Plan Point Logic Ownership - 2 points are awarded if both Affordable/Low Income and Market ownership types are 10% or greater within the project. Housing Type - 1 point is awarded if 2 of the 4 housing types are included in the project. - 2 points are awarded if 3 of the 4 housing types are included in the project. - 3 points are awarded if all 4 housing types are included in the project. Accommodation - 1 point is awarded if 2 of the accommodations are included in the project. - 2 points are awarded if 3 of the accommodations are included in the project. Site Plan Point Logic Ownership - 1 point is awarded if both Affordable/Low Income and Market ownership types are 10% or greater within the project. Housing Type - 1 point is awarded if 2 of the 4 housing types are included in the project. - 2 points are awarded if 3 of the 4 housing types are included in the project. - 3 points are awarded if all 4 housing types are included in the project. Accommodation - 1 point is awarded if 2 of the 5 accommodations are included in the project. - 2 points are awarded if 3 of the 5 accommodations are included in the project. - 3 points are awarded if 4 or more of the accommodations are included in the project. |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Planning Justification Report. Draft Plan – Included in the Planning Justification Report. Site Plan – Included in the Site Plan Statistics. Submission requirements: - Table summarizing the housing unit mix as follows: - Total number of residential units. - Percent (%) breakdown of the ownership types within the project (market and affordable/low-income). - Percent (%) breakdown of the housing types within the project (attached, detached, townhomes/stacked and mid/hi-rise housing). - Percent (%) breakdown of accommodation types within the project (live-work, multi-generational, mixed-use, 1 bedroom/studio, > 2 bedrooms). - Block Plan demonstrating the breakdown of: - Housing types within the project (attached, detached, townhomes/stacked and mid/hi-rise housing). - Ownership types within the project (market and affordable/low-income). - Accommodation types within the project (live-work, multi-generational, mixed-use, 1 bedroom/studio, > 2 bedrooms). |  |

| ## METRIC Community and Neighbourhood Scale | INDICATOR Community Form |
| --- | --- |
| APPLIES TO Block Plan – Greenfields | METRIC TYPE Applicant Score |
| METRIC INTENT Focus retail, personal, human and community services within community core areas (neighbourhood centre and mixed-use node) so that people can meet their daily needs within their own communities. |  |
| POINT ALLOCATION – 4 POINTS Minimum – Meet all metric requirements (4 points). |  |
| DOCUMENT COMPLIANCE Included in the Urban Design Guidelines. Submission requirements: - Highlight the community form (typically a cluster of neighbourhoods to sustain a viable mixed-use node and public transit). - Highlight the various neighbourhoods in the community and confirm that each neigbourhood is defined by a 400 m walk, from centre to perimeter edge (see figure below). 400 m neighbourhood radius - Identify the neighbourhood centre and list the uses and amenities included in the centre (i.e. transit hub, parkette, village square, community facilities, amenities, etc.). - Identify the mixed-use node (could include higher residential densities, transit hub, retail, amenities, etc.). |  |

| ## METRIC Connection to Natural Heritage | INDICATOR Natural Heritage |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Provide connections to nature and green spaces to benefit human health through proximity or access. |  |
| GLOSSARY OF TERMS Visual and Physical Connection – Public access blocks, single loaded roads, parks, etc. |  |
| POINT ALLOCATION – UP TO 4 POINTS (DRAFT AND BLOCK PLANS); UP TO 2 POINTS (SITE PLAN) Minimum Target – Visual and physical connections (such as public access blocks, single loaded roads, etc.) are provided to 25% of the natural heritage system (Block/Draft = 2 points) (Site = 1 point). Aspirational Target – Visual and physical connections (such as public access blocks, single loaded roads, etc.) are provided to 50% of the natural heritage system (Block/Draft = 2 points) (Site = 1 point). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Landscape Plan. Site Plan – Included in the Site Plan. Submission requirements: - Identify if a natural heritage system is included within the project boundary. If one or multiple systems are included, identify the natural heritage elements on the Landscape Plan. - Highlight strategies that have been used to enable a visual and/or physical connection to the natural heritage system. - Quantify the % connection for the natural heritage system. |  |

| ## METRIC Bicycle Parking | INDICATOR Parking |
| --- | --- |
| APPLIES TO Site Plan (not applicable for Single Family development units) | METRIC TYPE Applicant Score |
| METRIC INTENT Encourage active transportation, promote efficient use of developable land, discourage the location of parking in front of buildings in order to support on-street retail and more pedestrian-oriented built environments, and minimize the adverse environmental impacts of parking facilities. |  |
| DEMONSTRATE COMPLIANCE For projects that include multi-family buildings, quantify the number of bike parking spaces as a ratio of total residential units. Include bike parking spaces at grade for visitors. For projects that include commercial, retail or institutional uses, provide bike parking spaces for both permanent employees and expected visitors. Projects are also recognized if bike parking is weather protected and in close proximity to the building entry. |  |
| POINT ALLOCATION – UP TO 6 POINTS Multi-Family buildings Mandatory Target – Satisfy Municipal Standards. Minimum Target – 1 point is awarded if 0.6 bike parking spaces are provided per residential unit AND a minimum of 5% of the total bike parking is provided at grade. Aspirational Target – 1 additional point is awarded if 0.8 bike parking spaces are provided per residential unit AND a minimum of 10% of the total bike parking is provided at grade. Commercial, Retail or Institutional Mandatory Target – Satisfy Municipal Standards. Minimum Target – 1 point is awarded if 0.13 bike parking spaces per 100 m2 of gross floor area (GFA) is provided per permanent employees AND 0.15 bike parking spaces per 100 m2 of GFA for visitors. Aspirational Target – 1 additional point is awarded if bike parking weather protection is provided AND bike parking is within close proximity to the building entry. 2 more additional points are awarded if 1 shower and change room is provided (for men and women) per 30 bike parking spaces. |  |
| DOCUMENT COMPLIANCE Included in the Site Plan Statistics and Floor Plans. Submission requirements: - Identify the building types that are included in the project (i.e. mixed-use, multi-family, commercial, retail, institutional). - Quantify the total unit count in each of the multi-family buildings and the total GFA for each of the commercial, retail and institutional buildings or areas within a building (if applicable). - Quantify the total bike parking spaces provided per building. - Quantify the ratio of bike parking spaces per residential unit (for multi-family buildings) and bike parking spaces per 100 m2 of GFA (for commercial, retail and institutional buildings). - On a site plan, identify the location and number of bike parking spaces. Identify any weather protection features for the bike parking. - For commercial and institutional building, identify the location of shower and change rooms and quantify the total number of showers. |  |

| ## METRIC Off-Street Parking | INDICATOR Parking |
| --- | --- |
| APPLIES TO Site Plan (not applicable to Single Family development units) | METRIC TYPE Applicant Score |
| METRIC INTENT Encourage active transportation, promote efficient use of developable land, discourage the location of parking in front of buildings in order to support on-street retail and more pedestrian-oriented built environments, and minimize the adverse environmental impacts of parking facilities. |  |
| DEMONSTRATE COMPLIANCE All new off-street parking is located at the side or rear of the building (typically, the building’s address aligns with the front of the building). Within Intensification Areas, and where a parking structure is included in the project, the structure can be stand-alone or included within the building footprint (e.g. underground, integrated within the building). |  |
| POINT ALLOCATION – UP TO 7 POINTS Minimum Target – Locate all new off-street parking at the side or rear of buildings (1 point). Aspirational Target – Less than 20% of the total development area is allocated to new, off-street surface parking facilities (1 point). Consolidate 85% or more of the surface parking to parking structures in Intensification Areas (5 points). |  |
| DOCUMENT COMPLIANCE Included in the Site Plan and Site Statistics. Submission requirements: - On a site plan drawing, identify the building frontage and the surface parking location(s). - Calculate the total site area for the project and the total area dedicated to surface parking/parking facilities. Determine the % of site area allocated to surface/facility parking. - In intensification areas, should the project include a parking structure, quantify the total parking spaces within the structure and on the site. Determine the % of parking spaces that are provided within the parking structure. |  |

| ## METRIC Surface Parking | INDICATOR Parking |
| --- | --- |
| APPLIES TO Site Plan (not applicable to Single Family development units) | METRIC TYPE Applicant Score |
| METRIC INTENT Encourage active transportation, promote efficient use of developable land, discourage the location of parking in front of buildings in order to support on-street retail and more pedestrian-oriented built environments, and minimize the adverse environmental impacts of parking facilities. |  |
| DEMONSTRATE COMPLIANCE Develop a strategy (e.g. Transportation Demand Management Strategy) to minimize surface parking for permanent employees and residents. Strategies could include, but are not limited to: - Subsidized transit passes offered to residents and employees. - On-site vehicle sharing program (developer financed, zip car, autoshare, etc.). - Unbundle parking spaces – parking spaces are either sold or rented separately from the residential units/commercial office space. - Underground visitor parking. - Bike locker/storage. |  |
| POINT ALLOCATION –1 POINT Minimum Target – Develop a Transportation Demand Management Strategy to minimize surface parking for permanent employees and residents (1 point). |  |
| DOCUMENT COMPLIANCE Included in the Transportation Study or Traffic Impact Study. Submission requirements: - Identify the transportation demand management strategies that are included within the project. |  |

| ## METRIC Carpooling and Efficient Vehicle Parking | INDICATOR Parking |
| --- | --- |
| APPLIES TO Site Plan (Commercial, Residential and Institutional only) | METRIC TYPE Applicant Score |
| METRIC INTENT Provide further incentive for employees to carpool or drive fuel efficient cars. |  |
| DEMONSTRATE COMPLIANCE Provide convenient and dedicated parking spaces for employees that carpool to work, use autoshare/zipcar or have hybrid/electric vehicles. |  |
| POINT ALLOCATION – 2 POINTS Minimum Target – 3% of the site parking spots (or a minimum of 4 parking spots) to be dedicated to carpooling and/or fuel efficient/hybrid vehicles and/or carshare/zip car (does not apply to compact cars) (1 point). Aspirational Target – 5% of the site parking spots to be dedicated to carpooling and/or fuel efficient/hybrid vehicles and/or carshare/zip cars (does not apply to compact cars) (1 point). |  |
| DOCUMENT COMPLIANCE Included in the Site Plan Drawings. Submission requirements: - Quantify the total parking spaces included per building on the site. - Quantify the total parking spaces that are dedicated to hybrid/electric vehicles, autoshare/zipcar or carpooling. - On a site plan drawing, identify the dedicated parking spaces and highlight proximity/preferred location relative to building entry. |  |

| ## METRIC Traffic Calming | INDICATOR Pedestrian Connections |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Provide walkable streets to encourage active transportation. |  |
| GLOSSARY OF TERMS Block and Draft Plans Residential Road – Local road; Minor collector Non-Residential Road – Industrial road; Major collector Site Plan Residential Road – Local road; Minor collector Non-Residential Road (Commercial, Industrial, Institutional) – Drive ways |  |
| DEMONSTRATE COMPLIANCE Metric is only applicable on projects that include new streets. Traffic calming is the combination of mainly physical measures to help reduce vehicle speeds and improve conditions for non-motorized street users. Traffic calming strategies include (but aren’t limited to): bike lanes, narrowed street widths, bioswales, raised crosswalks, textured pavement, traffic circles, realigned intersections, neckdowns/centre island narrowing, speed limit signage, reduced speeds signage, turning movement restrictions signage (i.e. no left turns from 4-8 pm), increased number of intersections, etc. |  |
| POINT ALLOCATION – UP TO 4 POINTS Minimum Target – 75% of new residential-only streets designed with traffic calming strategies (1 point). 50% of new non-residential and/or mixed-use streets are designed with traffic calming strategies (1 point). Aspirational Target – 100% of new residential-only streets designed with traffic calming strategies (2 points). 75% of new non-residential and/or mixed-use streets are designed with traffic calming strategies (2 points). |  |
| DOCUMENT COMPLIANCE Included in the Transportation Study or Traffic Impact Study. Submission requirements: - Highlight the new residential-only and new non-residential/mixed-use streets in the project (if any). - Identify the % of street length (broken out by resident only and non-resident) that includes street calming techniques. - On a drawing, identify the traffic calming strategies that are included in the project. |  |

| ## METRIC School Proximity to Transit Routes and Bikeways (Employment Lands and Commercial, Retail, Institutional developments excluded) | INDICATOR Pedestrian Connections |
| --- | --- |
| APPLIES TO Block Plans | METRIC TYPE Community Score |
| METRIC INTENT Promote walking and cycling to schools and reduce traffic congestion at school sites. |  |
| POINT ALLOCATION –UP TO 4 POINTS Minimum Target – All schools are located within a 400 m walking distance to transit routes and/or dedicated bike network (2 points). Aspirational Target – All schools are located within a 200 m walking distance to transit routes and/or dedicated bike network (2 points). |  |
| DOCUMENT COMPLIANCE Included in the Urban Design Guidelines. Submission requirements: - On a project map, identify the: - existing or planned school(s) - existing or planned transit stops - existing or planned dedicated bike network For all of the existing or planned schools, quantify the radial walking distance (in meters) to existing or planned transit stops and dedicated bike networks. |  |

| ## METRIC Proximity to Schools | INDICATOR Pedestrian Connections |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans (Employment Lands and Commercial, Retail and Institutional developments excluded) | METRIC TYPE Community Score |
| METRIC INTENT Promote schools as community focal points and support students’ health by encouraging walking and bicycling to school. |  |
| POINT ALLOCATION – UP TO 6 POINTS Minimum Target – 50% of dwelling units are within 800 m walking distance to public/private elementary, Montessori, and middle schools (2 points). 50% of dwellings units (DU) are within 1600 m to a high school (1 point). Aspirational Target – 75% of DUs are within 400 m walking distance to public/private elementary, Montessori, and middle schools (2 points). 75% of DUs are within 1000 m to a high school (1 point). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Planning Justification Report. Site Plan – Included in the Urban Design Brief or the Traffic Impact Study. Submission requirements: - On a map, identify all of the existing and/or planned schools (public/private elementary schools, middle schools, high schools and Montessori) that are included in the project boundary or in close proximity to the project (i.e. within a 1600 m walking distance). - Quantify the total number of DUs included in the plan. - Apply radial circles to the plan, and identify and quantify the % of DUs that are within an 800m and 400m radial distance to elementary schools, middle schools and Montessori. - Apply radial circles to the plan, and identify and quantify the % of DUs that are within 1600 m and 1000 m radial distance to high schools. NOTE – All DUs in multi-family buildings and single family homes should be included in the calculation. |  |

| ## METRIC Cultural Heritage Conservation | INDICATOR Cultural Heritage Resources |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Preserve and maintain cultural heritage resources. |  |
| POINT ALLOCATION – UP TO 4 POINTS Mandatory – Comply with cultural heritage conservation policies under provincial legislation (e.g. the Ontario Heritage Act, Planning Act, Provincial Policy Statement (PPS), etc.), Municipal Official Plan, Municipal by-laws, and the “Standards and Guidelines for the Conservation of Historic Places in Canada.” Minimum Target – 100% evaluation of properties included in the Municipal Heritage Registers (listed and designated), and 100% retention and protection of cultural heritage resources that qualify for designation under the Ontario Heritage Act (2 points). Aspirational Target – 100% conservation (in situ) of cultural heritage resources identified in the Municipal Heritage Registers (listed and designated) and their associated landscapes and ancillary structures in accordance with “The Standards and Guidelines for the Conservation of Historic Places in Canada” (2 points). |  |
| DOCUMENT COMPLIANCE Included in the Heritage Impact Assessment, Heritage Permit (as needed), Conservation Plan (as needed) and/or Heritage Building Protection Plan (as needed). Submission requirements: - On a plan, identify the cultural heritage resources that are located within the project boundary (if any). If there are no cultural heritage resources on the site, this Metric is not applicable and points will not be counted in the Applicant score. - If cultural heritage resources are located on the site, verify that the proposed plan complies with the Cultural Heritage Conservation policies under provincial legislation (e.g. Ontario Heritage Act, Planning Act, PPS), Standards and Guidelines for Historic Places, Municipal Official Plan, Municipal by-laws, Municipal Register of Cultural Heritage Resources and/or Municipal Heritage Inventory. - Verify and document that 100% of cultural heritage resources included in the Municipal Heritage Inventory and/or Register have been evaluated. - Verify and document that 100% of the cultural heritage resources that qualify for designation under the Ontario Heritage Act are retained and protected. - Verify and document that 100% of the cultural heritage resources identified in the Municipal Heritage Register or Inventory and their associated landscapes and ancillary structures are conserved in accordance with the Standards and Guidelines for the Conservation of Historic Places in Canada. |  |

# MOBILITY

| ## METRIC Block Perimeter/Length | INDICATOR Street Networks/Block |
| --- | --- |
| APPLIES TO Block and Draft Plans – Greenfields and Intensification Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Blocks of dwelling units (DU) with a perimeter less than 550 m promote connectivity of neighbourhoods, allow pedestrians to choose from a variety of routes to their destination, and should be flexible to accommodate both residential and commercial lot sizes. |  |
| POINT ALLOCATION – UP TO 4 POINTS Minimum Target – 75% of block perimeters do not exceed 550 m. 75% of block lengths do not exceed 250 m (2 points). Aspirational Target – 100% of block perimeters do not exceed 550 m. 100% of block lengths do not exceed 250 m (2 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Planning Justification Report. Submission requirements: - Measure the block lengths for all blocks included in the plan (in metres). - Measure the block perimeter length for all blocks included in the plan (in metres). - Quantify the % of block lengths that are less than 250 m. - Quantify the % of block perimeters that are less than 550 m. |  |

| ## METRIC Intersection Density | INDICATOR Street Networks/Block |
| --- | --- |
| APPLIES TO Block and Draft Plans – Greenfields and Intensification Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Promote well-connected street networks that allow for multiple active transportation routes through the neighbourhood, and reduce traffic through alternative vehicular routes. |  |
| GLOSSARY OF TERMS Eligible Intersections – Publicly accessible streets, intersection of streets with dedicated alleys, laneways and transit right-of-ways. Non-Eligible Intersections – Those where you must enter and leave an area through the same intersection, for example cul-de-sacs and gated street entrances. Square Kilometre – Similar to net developable area, calculation excludes water bodies, parks larger than 0.2 hectares, natural heritage system lands, public facility campuses, airports, existing and proposed 400-series highways, and rail yards. |  |
| POINT ALLOCATION – UP TO 4 POINTS Minimum Target – 40-50 street intersections per sq km have been provided (2 points). Aspirational Target – 51-60 street intersections per sq km have been provided (3 points). More than 61 street intersections per sq km have been provided (4 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Planning Justification Report. Submission requirements: - Quantify the number of eligible intersections included within the plan per square kilometre. See figure below (Source: LEED ND Reference Guide) and Glossary for an explanation of eligible and non-eligible intersections; or - Quantify the number of eligible intersections and divide by the net developable area as defined above for “Square Kilometre”. |  |

| ## METRIC Connectivity | INDICATOR Site Permeability |
| --- | --- |
| APPLIES TO Site Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Encourage walking and transit use. |  |
| POINT ALLOCATION – 2 POINTS Mandatory – Connect buildings on the site to off-site pedestrian paths, surface transit stops, parking areas (car and bike), existing trails or pathways, or other destinations (e.g. schools). Outdoor waiting areas located on the site must offer protection from weather. Where a transit stop is located within a walking distance of the project site boundary, the building main entrance should have a direct pedestrian linkage to that transit stop. Aspirational Target – Provide amenities and street furniture (benches, additional bike parking, landscaping) along connections provided on the site and between the site and adjacent destinations (2 points). |  |
| DOCUMENT COMPLIANCE Included in the Site Plan or Landscape Plan. Submission requirements: - On a Site or Landscape Plan, identify existing or proposed transit routes that are within walking distance to the building (i.e. 200 m). If applicable, highlight a linkage that connects a building entry to the transit stop. - On a Site or Landscape Plan, identify the linkages that connect a building entry to pedestrian paths, surface transit stops, parking areas (car and bike), schools, etc. - Identify outdoor waiting areas located within the site and highlight the weather protection elements included in the design. - List the amenities and street furniture (benches, public art, landscaping, bioswales, etc.) that help connect the site to adjacent destinations. |  |

| ## METRIC Distance to Public Transit | INDICATOR Transit Supportive |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Community Score |
| METRIC INTENT Support alternative transportation modes to vehicle use. |  |
| GLOSSARY OF TERMS Frequent Service – Access to public transit in intervals of no more than 30 minutes during peak times for each line in each direction and available during hours of typical building operation. |  |
| POINT ALLOCATION – UP TO 6 POINTS Mandatory Target – Satisfy Official Plan Targets. Minimum Target – Site is within 800 m walking distance to an existing or planned commuter rail, light rail, bus rapid transit or subway with stops OR Site is within 400 m walking distance to 1 or more bus stops with frequent service (3 points). Aspirational Target – Site is within 400 m walking distance to an existing or planned commuter rail, light rail, bus rapid transit, or subway with frequent stops OR Site is within 200 m walking distance to 1 or more bus stops with frequent service (3 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Planning Justification Report. Site Plan – Included in the Transportation Study and/or Traffic Impact Study. Submission requirements: - List the Municipal Plan targets and document if compliance is achieved. - On a map, identify the existing or planned commuter rail, subway, light rail and bus stops with frequent service. - Quantify the expected residential and employment population for the proposed plan. - Quantify the % of residents and employees that are within an 800m and 400m walking distance to existing or planned commuter rail, light rail or subways with frequent service. - Quantify the % of residents and employees that are within a 400m and 200m walking distance to 1 or more bus stops with frequent service. NOTE – See figure below for an example (Source LEED ND Reference Guide). |  |

| ## METRIC Creation of Trails and Bike Paths | INDICATOR Active Transportation |
| --- | --- |
| APPLIES TO Block and Draft Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Enhance pedestrian and cycling trails to further promote active forms of transportation. |  |
| GLOSSARY OF TERMS Trail Enhancements – Provide trail heads, trail signs and/or seating areas. |  |
| POINT ALLOCATION – 2 POINTS Mandatory – Comply with the Municipality’s Master Plan. Aspirational Target – Advance the objectives of the applicable Pedestrian and Cycling Master Plan by providing Trail Enhancements (2 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Landscape Plan. Submission requirements: - Identify if there are any existing or planned trails and bike paths located in the plan. - If applicable, verify that the trails and bike paths comply with Municipal Master Plan. - If applicable, identify the additional features that advance the objectives of the applicable pedestrian and cycling master plan. |  |

| ## METRIC Proximity to Cycling Network | INDICATOR Active Transportation |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Community Score |
| METRIC INTENT Enhance pedestrian and cycling trails to further promote active forms of transportation. |  |
| GLOSSARY OF TERMS Cycling Networks – As defined in the municipal or regional Pedestrian and Cycling Master Plan. |  |
| POINT ALLOCATION – UP TO 4 POINTS Minimum Target – 75% of residents/jobs are within 400 m of existing or approved by council path/network (2 points). Aspirational Target – 100% of residents/jobs are within 400 m of existing or approved by council path/network (2 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Planning Justification Report. Site Plan – Included in the Traffic Impact Study. Submission requirements: - Identify if there are any existing or municipally approved cycling networks within the project boundary. - Quantify the expected residential and employment population for the proposed plan. - Quantify the % of residents and jobs that are within 400 m of existing or planned cycle networks. NOTE – These points are only awarded if a cycling network is included in the project boundary and the bike parking requirement is satisfied. |  |

| ## METRIC Promote Walkable Streets | INDICATOR Walkability |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Promote walking and other forms of active transportation by providing safe and comfortable street environments. |  |
| GLOSSARY OF TERMS Pedestrian Amenities - Shelter from rain, wind breaks, shade, seating, pedestrian-oriented lighting, etc. Wider sidewalk widths may also be pedestrian amenities in more urban areas. |  |
| POINT ALLOCATION – UP TO 6 POINTS Mandatory – Sidewalks must be in accordance with the applicable Municipal Standards. Sidewalk width must be at least 1.5 m. Minimum Target – On 75% of streets, continuous sidewalks or equivalent provisions must be provided on both sides of streets, where not a mandatory requirement (2 points). Aspirational Target – On 100% of streets, continuous sidewalks or equivalent provisions must be provided on both sides of streets, where not a mandatory requirement (4 points). Provide pedestrian amenities to further encourage walkable streets (2 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Transportation Study. Draft Plan – Included in the Transportation Study. Site Plan – Included in the Site Plan Drawings. Submission requirements: - Verify and document that the sidewalks comply with Municipal Standards and are at a minimum, 1.5 m in width. - Quantify the total length of streets included in the project boundary. - Quantify the % street length where sidewalks are continuous and included on both sides of the street. - List pedestrian amenities (see Glossary section above) that are included on the sidewalks. |  |

# NATURAL ENVIRONMENT & OPEN SPACE

| ## METRIC Park Accessibility | INDICATOR Parks |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Provide visual and physical access to public parks. |  |
| POINT ALLOCATION – UP TO 6 POINTS Minimum Target – Provide 2 or more road frontages for each urban square, parkette, and neighborhood park provided and 3 road frontages for each community park provided (3 points). Aspirational Target – Provide 3 or more road frontages for all parks provided (3 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines and Landscape Plan. Draft Plan – Included in the Urban Design Guidelines and Landscape Plan. Site Plan – Included in the Site Plan Drawings. Submission requirements: - Highlight the urban squares, parkettes, neighbourhood parks and community parks included within the application. - Quantify the number of road frontages for each park type. |  |

| ## METRIC Stormwater Quantity and Quality | INDICATOR Stormwater |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Implement a treatment-train approach to stormwater management that emphasizes source controls and conveyance controls to promote infiltration, evaporation, and/or re-use of rainwater. The objective is to maintain stream flows and thermal regimes within natural ranges of variation. |  |
| POINT ALLOCATION – UP TO 6 POINTS Mandatory – Retain runoff volume from the 5 mm rainfall event on site or achieve best efforts. Provide quantity or flood control in accordance with applicable Municipal and Conservation Authority requirements. Minimum Target – Retain runoff volume from the 10 mm rainfall event on site (3 points). Aspirational Target – Retain runoff volume from the 15 mm rainfall event on site (3 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Functional Servicing Report or Stormwater Management Plan. Draft Plan – Included in the Functional Servicing Report or Stormwater Management Plan. Site Plan – Included in the Site Plan Drawings or Stormwater Management Plan. Submission requirements: - List and describe the design measures used to retain stormwater runoff on site. Measures could include (but are not limited to): - Low impact development measures - Stormwater ponds - Bioswales - Highlight the location of design measures (if any) on a plan. - Confirm that the quantity and flood controls are in accordance with applicable Municipal and Conservation Authority requirements. - Calculations and signoff by a professional quantifying the amount of runoff that will be retained on site. |  |

| ## METRIC Stormwater Quantity and Quality | INDICATOR Stormwater |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans (Single Family developments are excluded) | METRIC TYPE Applicant Score |
| METRIC INTENT Protect receiving water bodies from the water quality degradation that may result from development and urbanization. |  |
| GLOSSARY OF TERMS Total Suspended Solids (TSS) – Solids found in waste water or in a stream which can be removed by filtration through a 0.45 micron filter. The origin of the TSS may be manmade or natural (silt). |  |
| POINT ALLOCATION – UP TO 5 POINTS Mandatory – Remove 80% of TSS on an annual loading basis from all runoff leaving the site (based on the post development level of imperviousness). All ponds will be designed with Enhanced Level of Protection (Level 1). Minimum Target – Remove 81% to 90% of TSS from all runoff leaving the site during a 10 mm rainfall event. (Based on the post development level of imperviousness) (1 point). Aspirational Target – Remove 91% to 100% of TSS from all runoff leaving the site during a 15 mm rainfall event. (Based on the post development level of imperviousness) (5 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Functional Servicing Report or Stormwater Management Plan. Draft Plan – Included in the Functional Servicing Report or Stormwater Management Plan. Site Plan – Included in the Site Plan Drawings or Stormwater Management Plan. Submission requirements: - List and describe the filtration measures used to treat the stormwater runoff on site. Strategies could include (but are not limited to): - Stormwater Ponds - Oil-grit separators - Filters - Bioswales - Highlight the design measures (if any) on a plan. - Confirm that all ponds (if applicable) have been designed with Enhanced Level of Protection. - Quantify the % of TSS removed from a 10 mm and 15 mm rainfall event. - Signoff by a professional quantifying the amount of runoff that will be retained on site. |  |

| ## METRIC Rainwater Re-Use | INDICATOR Stormwater |
| --- | --- |
| APPLIES TO Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce potable water use. |  |
| POINT ALLOCATION – UP TO 4 POINTS Minimum Target – Buildings designed for rainwater re-use readiness (i.e. plumbing infrastructure included in the building) (1 point). (Single Family developments are excluded from minimum requirements). Aspirational Target – Rainwater captured on-site and used for low-grade functions (i.e. toilet/urinal flushing, irrigation) (3 points). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Submit a Letter of Intent (signed by a professional) committing that the project will either be designed for rainwater re-use readiness (i.e. plumbing infrastructure rough-in, dedicated location for cistern) or will re-use rainwater on-site (for toilet flushing, irrigation, outdoor uses, etc.). - Highlight the design measures (i.e. cistern location/size, site drainage) on a site plan. |  |

| ## METRIC Stormwater Architecture/Features | INDICATOR Stormwater |
| --- | --- |
| APPLIES TO Site Plans (Single Family developments are excluded) | METRIC TYPE Applicant Score |
| METRIC INTENT Beautify naturalized stormwater management facilities to enhance the municipal natural heritage system and integrate into the open space system as visually and physically accessible amenities. |  |
| POINT ALLOCATION – UP TO 2 POINTS Minimum Target – Introduce stormwater amenities that provide both functional and aesthetic benefits to the site (2 points). |  |
| DOCUMENT COMPLIANCE Included in the Landscape Plan. Submission requirements: - Identify the stormwater amenities (public art, interpretative signage, visible infrastructure, etc.) included within the project that are above and beyond standard municipal requirements. - Describe how the feature will work to treat or re-direct stormwater and fit within the site/community. |  |

| ## METRIC Dedicate Land for Food Production | INDICATOR Urban Agriculture |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans (Employment Lands and Commercial, Retail and Institutional developments excluded) | METRIC TYPE Applicant Score |
| METRIC INTENT Promote community-based food production and provide alternative passive recreational uses. |  |
| GLOSSARY OF TERMS Garden Space – Can include some of the following elements: - Quality soil - Water, sun and pedestrian access - Greenhouses/raised beds - Secured area for tool storage - Fencing Available Roof Area – Roof area excluding mechanical equipment, parapets, etc. |  |
| POINT ALLOCATION – UP TO 4 POINTS Block and Draft Plan Minimum Target – Provide 80 ft2 of garden space per development unit (2 points). Aspirational Target – Provide the following garden space per site density (2 points): Dwelling Unit (DU) Density; Growing Space/Dwelling Unit (DU). 17-35 DU/ha; 200 ft2. 36-54 DU/ha; 100 ft2. >54 DU/ha; 80 ft2. Site Plan Minimum Target – Provide 80 ft2 of garden space per development unit (2 points). Aspirational Target – Dedicate 15% of roof space for local food production (2 points). (Single Family developments are exempt from aspirational targets.) |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Letter of Intent signed by a professional. Site Plan – Included in the Landscape Plan or Roof Plan. Submission requirements: - Identify the locations within the project that are dedicated for food production. - List the garden space elements included/considered for the project. - Quantify the total number of dwelling DU within the project. - Quantify the total garden space available per DU (i.e. ft2/DU). For Multi-Use Residential Buildings (only): - Quantify the available roof area. - Quantify the % of available roof area that is dedicated to food production. - Highlight the dedicated roof area on a drawing. |  |

| ## METRIC Natural Heritage System Enhancements | INDICATOR Natural Heritage System |
| --- | --- |
| APPLIES TO Block and Draft Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Improve natural heritage system function with respect to wildlife habitat and/or ecological functions, including ecosystem services. |  |
| GLOSSARY OF TERMS Natural Heritage Enhancements include (but are not limited to): - Enhanced buffer block sizing (beyond what is required by the Official Plan) - Invasive species management - Trail setbacks - Eco-passages |  |
| POINT ALLOCATION – 2 POINTS Mandatory – Satisfy the Municipal Official Plan Requirements. Aspirational Target – Demonstrate ecological gain above and beyond the Municipal natural heritage requirements. If draft plan is part of a block plan that received points for natural heritage system enhancement, then it will automatically receive aspirational points (2 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Environmental Implementation Report. Draft Plan – Included in the Environmental Impact Study. Submission requirements: - Confirm that the natural heritage system enhancements (if applicable) satisfy Municipal Official Plan requirements. - Identify additional heritage enhancements (beyond Municipal requirements) that are included in the project. |  |

| ## METRIC Restore and Enhance Soils | INDICATOR Soils and Topography |
| --- | --- |
| APPLIES TO Block and Draft Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Limit disturbance of healthy soil to: - Protect soil horizons and maintain soil structure. - Support biological communities (above-ground and below-ground). - Minimize runoff and maximize water holding capacity. - Improve biological decomposition of pollutants. - Moderate peak stream flows and temperatures. |  |
| POINT ALLOCATION – UP TO 5 POINTS Mandatory – Undertake a Topsoil Fertility Test according to Municipal Standards. Minimum Target – Undertake a Topsoil Fertility Test for the entire site and implement its recommendations (1 point). Aspirational Target – Development on highly permeable soils is avoided following TRCA and CVC Low Impact Development Stormwater Management Planning and Design Guide (2 points). In addition to implementing the recommendations of the Topsoil Fertility Test, a minimum topsoil depth of 200 mm is provided across the entire site (2 points). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Carry out and submit a Topsoil Fertility Test according to Municipal Standards. - List the key soil properties for the site and recommendations included in the study. - Identify the soil fertility measures that were implemented on the entire site. - Identify the minimum topsoil depth (200 mm) that is provided across the entire site. - Identify areas within the project with highly permeable and fertile topsoil. - Confirm that the development that is located on highly permeable soils follows the TRCA and CVC Low Impact Development Stormwater Management Planning Design Guide. |  |

# INFRASTRUCTURE & BUILDINGS

| ## METRIC Solar Readiness | INDICATOR Energy Conservation |
| --- | --- |
| APPLIES TO Site Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Encourage on-site renewable energy generation. |  |
| POINT ALLOCATION – UP TO 8 POINTS Minimum Target – The project is awarded 1 point if 100% of all buildings are designed for solar readiness. Aspirational Target – The project is awarded 1 point if 1% of the total energy is generated on-site by renewable energy sources. An additional point is awarded for every 2% renewable energy generation increment (i.e. 13% generation is 7 points). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Submit a Letter of Intent (signed by a professional) committing that all new buildings will be designed for solar readiness (i.e. electrical conduit/plumbing riser built into base building, roof capacity accounts for weight/lift of renewable energy technologies, delivery and space allocation for fuel delivery/storage, etc.). - Submit a Letter of Intent (signed by a professional) committing the % of renewable energy that will be included on-site. The % of renewable energy generated can be quantified by the following steps: - List the types of buildings (office, commercial, retail, multi-family, single family). - Quantify the total GFA for each building type. - List the expected/approximate energy use intensities (EUIs) for each building type. - Quantify the total building annual energy use for the site. - List the renewable energy technologies being considered for the site. - Quantify the expected annual energy generated from renewable technologies. - Quantify the % of annual energy generated on site, relative to the total energy consumed. |  |

| ## METRIC Passive Solar Alignment | INDICATOR Energy Conservation |
| --- | --- |
| APPLIES TO Block and Draft Plans (Greenfield) and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Promote energy efficiency by creating the conditions for the use of passive solar design as well as solar photovoltaic and/or solar thermal strategies. |  |
| POINT ALLOCATION – UP TO 6 POINTS Minimum Target – 50% (or more) of the blocks have one axis within 15 degrees of East-West (E-W). E-W lengths of those blocks are at least as long as the North-South (N-S) lengths of blocks (3 points). Aspirational Target – 75% (or more) of the blocks have one axis within 15 degrees of E-W. E-W lengths of those blocks are at least as long as the N-S lengths of blocks (6 points). |  |
| DOCUMENT COMPLIANCE Block Plan – Included in the Urban Design Guidelines. Draft Plan – Included in the Planning Justification Report. Site Plan – Included in the Site Plan/Urban Design Brief. Submission requirements: - On a plan, identify and clearly mark the direction of True North. - Measure 15˚ from the E-W plain for all blocks and buildings (as shown in figure below). - Highlight and quantify the buildings/blocks that have one axis within 15˚ of E-W. - Highlight and quantify the buildings and blocks that have the E-W lengths at least as long as the N-S lengths. - Quantify the total number of buildings and blocks. - Quantify the % of buildings and blocks that satisfy criteria 3 and 4, relative to the total number of buildings and blocks. |  |

| ## METRIC Building Energy Efficiency | INDICATOR Energy Conservation |
| --- | --- |
| APPLIES TO Draft Plans (Employment Lands excluded) and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce energy use and greenhouse gas emissions with consequent reductions in air, water, and land pollution and adverse environmental effects from energy production and consumption. |  |
| POINT ALLOCATION – UP TO 4 POINTS (Draft Plan); UP TO 21 POINTS (Site Plan) Draft Plan Minimum Target – The project is awarded 2 points if 75% of single family homes and multiunit residential buildings (3 storeys or below) achieve an EnerGuide rating of 83 or higher. Aspirational Target – The project is awarded an additional 2 points if 90% of the single family homes and multiunit residential buildings (3 storeys or below) achieve an EnerGuide rating of 85 or higher. Site Plan Minimum Target – The project is awarded 2 points if single family homes and multiunit residential buildings (3 storeys or below) are built to an EnerGuide rating of 83 or higher. All other buildings will be awarded 3 points if all buildings are designed to be 35% better than the Model National Energy Code for Buildings (MNECB). Aspirational Target – The project will be awarded an additional 3 points if all buildings (commercial, institutional, and multiunit residential > 3 storeys) are commissioned prior to full occupancy. The project will be awarded an additional 3 points if electricity sub-meters are installed per commercial/institutional tenant and per residential suite (only applies to multiunit residential > 3 storeys). The project can be awarded up to 8 points for targeting additional energy savings, relative to MNECB. For every 5% improvement in energy efficiency over 35%, 1 additional point is awarded (up to 60% cost savings relative to MNECB). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Submit a Letter of Intent, signed by a professional stating the following commitments: - All buildings will be designed in accordance to OBC requirements. Draft Plan - Quantify the % of single family homes or multiunit residential buildings (3 storeys or lower) that will be built to an EnerGuide rating of 83 (or equivalent). - Quantify the % of single family homes or multiunit residential buildings (3 storeys or lower) that will be built to an EnerGuide rating of 85 (or equivalent). - List the key design features that will be included to yield the targeted EnerGuide score. Site Plan - Quantify the % of single family homes or multiunit residential buildings (3 storeys or lower) that will be built to an EnerGuide rating of 83 (or equivalent). - Quantify the % of single family homes or multiunit residential buildings (3 storeys or lower) that will be built to an EnerGuide rating of 85 (or equivalent). - For multiunit residential buildings (> 3 storeys) and the commercial, institutional and retail buildings, identify the targeted energy savings relative to the Model National Energy Code for Buildings (MNECB). - Identify the key design features that will be included to yield the targeted energy savings, relative to MNECB. - Confirm that building commissioning will be carried out for all commercial, institutional and multiunit residential buildings > 3 storeys prior to full occupancy. - Confirm that electricity submeters will be installed in all multiunit residential buildings (> 3 storeys), commercial and institutional buildings. One electricity submeter will be installed per residential suite and tenant. |  |

| ## METRIC Energy Management | INDICATOR Energy Conservation |
| --- | --- |
| APPLIES TO Block, Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT District energy systems can provide more efficient heating and cooling for residential and commercial customers (providing there is density of development). This aids governments in reaching reduction targets for greenhouse gas emissions while also benefitting customers in reduced ongoing energy expenses and reduced one-time first costs for mechanical equipment. |  |
| POINT ALLOCATION – UP TO 5 POINTS Minimum Target – Develop an energy management strategy for the development, identifying opportunities for conservation, energy sharing, renewables, etc. (2 points). Aspirational Target – In an Intensification Area, where district energy has been deemed viable by the municipality, conduct a district energy feasibility study (3 points). |  |
| DOCUMENT COMPLIANCE Included in an Energy Report issued and signed by a professional. Submission requirements: - Submit an Energy Report outlining the energy strategy for the development. The report should highlight: - Energy conservation measures that will be adopted and the expected savings (energy, GHG emissions, operating cost, peak demand, etc.). - Opportunities for renewable energy/energy sharing between buildings. In intensification areas, where district energy has been deemed viable by the municipality: - Submit an Energy Report, outlining the viability of district energy for the site. The report should quantify and highlight: - The projected annual energy consumption for the site, broken out by heating (space heating and hot water), cooling and electricity. - The projected electricity demand for the site (average seasonal and peak demand). - Identify technologies/equipment to be considered for energy supply. - The relative savings (energy, GHG emissions, peak demand, operating cost) for each relevant technology. - Final recommendations for district energy viability and technologies. |  |

| ## METRIC Reduce Potable Water Use for Irrigation | INDICATOR Potable Water |
| --- | --- |
| APPLIES TO Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Promote water use efficiency. |  |
| POINT ALLOCATION – UP TO 6 POINTS Minimum Target – Reduce potable water used for irrigation by 50%, compared to a mid-summer baseline case (2 points). Aspirational Target – No potable water is used for irrigation (4 points). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a Professional. Submission requirements: - Submit a Letter of Intent (signed by a professional) committing that the project will be designed to reduce potable water requirements for irrigation. - Quantify the % reduction in potable water used to irrigate, relative to a mid-summer baseline case. - Identify the strategies used to reduce potable water demands (i.e. drought tolerant vegetation, controls, drip irrigation, rainwater harvesting/storage). |  |

| ## METRIC Water Conserving Fixtures | INDICATOR Potable Water |
| --- | --- |
| APPLIES TO Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Promote water use efficiency. |  |
| POINT ALLOCATION – UP TO 6 POINTS Mandatory – Include plumbing fixtures with the following maximum flow rates and satisfy applicable Municipal Standards. Baseline Fixture Rates Toilets: 6LPF Faucets: 8.3LPM Showerheads: 9.5LPM Urinals 3.8LPF Faucets 8.3LPM (private applications only), 1.9LPM all other Minimum Target – Include water fixtures that obtain a 10 to 20% reduction over the baseline fixture (Mandatory target fixture or applicable Municipal Standard) (3 points). Aspirational Target – Include water fixtures that obtain > 20% reduction over the baseline fixture (Mandatory target fixture) (6 points). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a Professional. Submission requirements: - Submit a Letter of Intent (signed by a professional) committing that the project will include water conserving fixtures with flow rates that satisfy OBC and applicable Municipal Standards. - Quantify the relative potable water savings from the fixtures selected. - Include sample cutsheets for some of the fixtures being considered to yield the targeted potable water reduction. |  |
| ## METRIC Parking Garage Lighting | INDICATOR Lighting |
| APPLIES TO Site Plans (Single Family developments are exempt) | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce energy used for lighting when the parking garage is not occupied. |  |
| POINT ALLOCATION – 1 POINT Mandatory – Parking garages have a minimum level of illumination of 50 lux. Minimum Target – Use occupancy sensors (motion and thermal) on 2/3 of parking lighting fixtures, while always maintaining a minimum illumination of at least 10 lux (1 point). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Carry out a photometric analysis to quantify the average illumination level is 50lux or greater. - Include occupancy sensors (motion and thermal) on 2/3 of fixtures, while always maintaining a minimum illumination level of at least 10 lux. |  |

| ## METRIC Reduce Light Pollution | INDICATOR Lighting |
| --- | --- |
| APPLIES TO Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce nighttime glare and light trespass from the building and the site. |  |
| POINT ALLOCATION – 1 POINT (Draft Plan); UP TO 2 POINTS (Site Plan) Draft Plan Mandatory – Satisfy applicable Municipal Standards. Minimum Target – Shield exterior light fixtures > 1000 lumens to prevent night sky lighting. No uplighting allowed (1 point). Site Plan Mandatory – Satisfy applicable Municipal Standards. Minimum Target – Shield exterior light fixtures > 1000 lumens to prevent night sky lighting. No uplighting allowed (1 point). Aspirational Target (non-residential) – Develop lighting controls that reduce nighttime spillage of light by 50% from 11 pm to 5 am. No architectural lighting allowed between 11 pm and 5 am (1 point). (Single Family developments are exempt from aspirational requirements). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Confirm that the applicable Municipal Standards have been satisfied. - To prevent night sky lighting, include shields on all exterior fixtures that have a lumen output of 1000 or greater. - Confirm that the design will not include any uplighting. For Site Plans (non-residential): - Commit that lighting controls will be used to reduce night time lighting spillage by 50% from 11 pm to 5 am, and no architectural lighting will be used between 11 pm and 5 am. |  |

| ## METRIC Energy Conserving Lighting | INDICATOR Lighting |
| --- | --- |
| APPLIES TO Draft and Site Plans (Single Family developments are exempt) | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce energy used for exterior lighting. |  |
| POINT ALLOCATION – 2 POINTS Mandatory – Satisfy applicable Municipal Standards. Minimum Target – LEDs and/or photocells are used on all exterior (exposed) lighting fixtures (applies to street lights, park lights, pedestrian walkways, etc.) (2 points). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Confirm that the applicable Municipal Standards have been satisfied. - For all exterior, exposed lighting fixtures, commit that LED and photocells will be used to reduce electricity demand and rely on ambient daylight when available. |  |

| ## METRIC Bird Friendly Design | INDICATOR Bird Friendly Design |
| --- | --- |
| APPLIES TO Site Plan (Single Family developments are exempt) | METRIC TYPE Applicant Score |
| METRIC INTENT Ensure that design features minimize the risk for migratory bird collisions. |  |
| POINT ALLOCATION – 2 POINTS Minimum Target – Apply a combination of Bird Friendly Design strategies on at least 85% of the exterior glazing located within the first 12 m of the building above-grade (including interior courtyards). Visual markers on the glass should have spacings no greater than 10 cm x 10 cm. Where a green roof is constructed with adjacent glass surfaces, ensure the glass is treated 12 m above green roof surface (2 points). |  |
| DOCUMENT COMPLIANCE Included in the Elevation Plans. Submission requirements: - Elevation plans should clearly highlight the bird friendly design features, adopted on the first 12 m above grade. Bird friendly design features can include, but aren’t limited to: - visual patterns on glass - window films - fenestration patterns - angled glass downwards - sunshades - reduced night sky lighting - Confirm that the visual markers on the glass have spacing no greater than 10 cm x 10 cm. - Confirm that 85% of the building glass (12 m above grade) has been treated with bird friendly design strategies. |  |

| ## METRIC Solid Waste | INDICATOR Materials and Solid Waste Management |
| --- | --- |
| APPLIES TO Site Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Promote waste reduction and diversion of materials from landfills. |  |
| POINT ALLOCATION – UP TO 2 POINTS Mandatory – Satisfy applicable Municipal Standards. Minimum Target – Storage and collection areas for recycling and organic waste are within or attached to the building or deep collection recycling and organic waste storage facilities are provided (1 point). (Single Family developments are exempt from minimum requirements). Aspirational Target – Three chute system is provided (1 point). (Single Family and Commercial, Retail, Institutional developments are exempt from aspirational requirements). |  |
| DOCUMENT COMPLIANCE Included in the Floor Plan and/or Site Plan. Submission requirements: - Confirm that applicable Municipal Standards have been satisfied. - For multiunit residential, commercial and institutional buildings, clearly identify storage and collection areas for recycling and organic waste. - For multiunit residential buildings, clearly identify three chute system for waste/recycling disposal. |  |

| ## METRIC Recycled/Reclaimed Materials | INDICATOR Materials and Solid Waste Management |
| --- | --- |
| APPLIES TO Draft and Site Plans | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce the adverse environmental effects of extracting and processing virgin materials. |  |
| POINT ALLOCATION – UP TO 2 POINTS Mandatory – Satisfy applicable Municipal Standards. Minimum Target – Minimum 25% of recycled/reclaimed materials should be used for new infrastructure including roadways, parking lots, sidewalks, unit paving, etc. (1 point). Aspirational Target – Minimum 30% of recycled/reclaimed materials should be used for new infrastructure including roadways, parking lots, sidewalks, unit paving, etc. (1 point). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Confirm that applicable Municipal Standards have been satisfied. - Identify the expected % of reclaimed/recycled material that will be used for new infrastructure (i.e. roadways, parking lots, sidewalks, unit paving, etc.). |  |

| ## METRIC Material Re-Use and Recycled Content | INDICATOR Materials and Solid Waste Management |
| --- | --- |
| APPLIES TO Site Plan | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce demand for new materials and promote diversion of materials from landfills. |  |
| POINT ALLOCATION – UP TO 4 POINTS Minimum Target – At least 5% reused content in building materials and/or landscaping materials (hardscaping such as paving or walkways) is provided (1 point). Minimum Target – At least 10% recycled content in building materials and/or landscaping materials (hardscaping such as paving or walkways) (1 point). Aspirational Target – At least 10% reused content in building materials and/or landscaping materials (hardscaping such as paving or walkways) is provided (1 point). Aspirational Target – At least 15% recycled content in building materials and/or landscaping materials (hardscaping such as paving or walkways) (1 point). |  |
| DOCUMENT COMPLIANCE Included in a Letter of Intent signed by a professional. Submission requirements: - Submit a Letter of Intent (signed by a professional) committing that the project will use recycled and re-used materials in the development. - Identify the following commitments: - % of reused content in building materials and/or landscaping. - % of recycled content in building materials and/or landscaping. |  |

| ## METRIC Reduce Heat Island from Built Environment – Non Roof | INDICATOR Heat Island |
| --- | --- |
| APPLIES TO Site Plan (Single Family developments are exempt) | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce ambient surface temperatures, and provide shade for human health and comfort. |  |
| POINT ALLOCATION – UP TO 3 POINTS Minimum Target – For 50% of the site's hardscape, include any combination of the following: - Underground/covered parking - Hardscape shading - Hardscape material with a solar reflective index (SRI) > 29 - Open grid pavers (> 50% pervious) (2 points) Aspirational Target – For 75% of the site's hardscape, include any combination of the following: - Underground/covered parking - Hardscape shading - Hardscape material with an SRI > 29 - Open grid pavers (> 50% pervious) (1 point) |  |
| DOCUMENT COMPLIANCE Included in the Site Plan or Roof Plan. Submission requirements: - Quantify the total hardscape on the site (excluding building footprint). - Highlight the design elements that have been used to reduce heat island from the hardscape area (i.e. underground/covered parking, hardscape shading, hardscape materials with an SRI > 29, and open grid pavers with pervious > 50%). The following products have an SRI > 29: - white-coated gravel on built up roof (SRI 79) - white coating on metal roof (SRI 82) - white cement tile (SRI 90) - new gray concrete (SRI 35) - Quantify the % of hardscape area that has employed heat island reduction strategies, relative to the total hardscape area. |  |

| ## METRIC Reduce Heat Island from Built Environment – Roof | INDICATOR Heat Island |
| --- | --- |
| APPLIES TO Site Plan (Single Family developments are exempt) | METRIC TYPE Applicant Score |
| METRIC INTENT Reduce ambient surface temperatures. |  |
| GLOSSARY OF TERMS Cool Roof – roof surface with a solar reflective index of 78 or higher for low-sloped roofs, and 29 or higher for steep roofs. |  |
| POINT ALLOCATION – UP TO 8 POINTS Minimum Target – The project is awarded 2 points (total) if 75% of the available roof area has a cool roof surface. The project is awarded 4 points (total) if 50% of the total available roof area is vegetated. The project is awarded 6 points (total) if 50% of the available roof area is vegetated and the remaining 50% is cool. Aspirational Target – The project is awarded 4 points (total) if 90% of the available roof area has a cool roof surface. The project is awarded 6 points (total) if 75% of the available roof area is vegetated. The project is awarded 8 points (total) if 75% of the available roof area is vegetated and the remaining 25% is cool. |  |
| DOCUMENT COMPLIANCE Included in the Landscape Plan or Roof Plan. Submission requirements: - Quantify the total available roof area (exclude area of mechanical equipment). For non-vegetated roofs: - List the expected roofing surfaces and their respective SRI values. - Quantify the % of cool roof area, relative to the total available roof area. For roofs that include vegetation/a green roof installation: - Quantify the % of roof areas (relative to the total available roof area) that will be vegetated. - Of the remaining roof area (if any), quantify the % roof area (relative to the total available roof area) that has an SRI of 78 or higher. |  |